## Introduction
Introduction
The purpose of this document is to give an understanding over the data that is to be provided to Eudamed and that can be communicated through Data Exchange process for the UDI/Device module. The document presents the different attributes related to UDI/Device that may be communicated through XML, their correspondence to the fields from EUDAMED User Interface, the description of each field apart and the Rules applying at the level of the Entity of for each specific field apart. Each attribute is defined by the Entity were it resides and the attribute name.
Document sections (sheets)
Data Dictionary Fields | Section contains a description of the fields used in the data dictionary
Entities | Section contains the list of Entities in MDR EUDAMED system involved in the Data Exchange process for the module described, a description of the Entity and the Business Rules applicable at the level of each Entity apart
Field Size | Section explain the different type of Sizes used for the String fields inside the document
Data Dictionary Basic UDI | Section contains all the fields related to the Basic UDI main Entity and other Entities associated to the Basic UDI for device(s) that are managed/affected by a manufacturer and for certificate identification that could be affected by NB certificate registration.
Data Dictionary NB related | Section contains all the fields related to the entities associated to the Basic UDI-DI that can be affected only by the Notified Bodies. Decision for confirmation are managed automatically from certificate registration, SS(C)P automatically from certificate registration or directly in UDI/device.
Data Dictionary AR related | Section contains all the fields related to the entities associated to the Basic UDI-DI that can be affected only by the Authorised Representatives (Optional, not implemented yet).
Data Dictionary UDI-DI | Section contains all the fields related to the UDI main Entity and other Entities associated to the UDI for a device that are managed/affected by a manufacturer.
Data Dictionary Basic UDI_SPPP | Section contains all the fields related to the Basic UDI main Entity and other Entities associated to the Basic UDI for a System or Procedure Pack that are managed/affected by a System or Procedure Pack Producer.
Data Dictionary UDI-DI_SPPP | Section contains all the fields related to the UDI main Entity and other Entities associated to the UDI for a System or Procedure Pack that are managed/affected by a System or Procedure Pack Producer.

## Data Dictionary Fields
Field ID | Unique ID for the label (technical field. assigned by the BA)
Entity Name | Entity model class name. (technnical field. Use naming convention as per class name in entity model)
Field Label | Field label in EN language as it appears at the GUI. NOTE: each field label needs to be recordet in the label log
Field Description/Notes | Field description in EN language. Field related notes which will be transposed to EA and will be visible in the data model related documentation generated from EA
ENUM Reference Code | Reference code to the enum list used by the field
Field Type | Field type (technical field - string, date, boolean, long, enum, etc.)
Field Size | See Field Size tab
Multilingual Flag | Can the user provide multiple translations for this field (if blank means No)
Occurrence | How many times does this field exists?
Confidential | To be seen only by the owner and the CA on the restricted site (if blank means No)
Searchable | if the field will be used in the search (if blank means No)
GDPR Flag | if the information stored in this field is considered personal data in compliance with PDPR (if blank means No)
Public Access Flag | if the information from this field will be available into the MDR Eudamed public site (if blank means No)
Updateable (standard version) | mentions if the field is updateble when creating a normal update of the entity (standard version) (if blank means No)
Updateable (version 'for Correction') | mentions if the field is updateble when creating a version for correction for the entity (if blank means No)
MDR | referance to the legal bases for the field when 'required in legislation' flag is 'Yes' (if blank means No)
IVDR | referance to the legal bases for the field when 'required in legislation' flag is 'Yes' (if blank means No)
Business Rules | Reference code to the business rules related to the field
DTX Entity Name | Data Exchange Entity name
DTX XSD Element Name | Data Exchange XSD Element / Entity Attribute

## Entities
Entity | Description | Business Rules
DIIdentifier | Unique (Primary) Identifier for a Device, Device Model, Package Structure element or Unit of Use; Device identifier consists of the DI Code and Issuing Entity. | BR-UDID-03
BasicUDIData | Basic UDI is the Device Model (grouping of Devices having similar properties) for a Device. BasicUDIData manages the properties and relationships for a Device, from the Device Model level; | Registration BR-UDID-01 BR-UDID-61 BR-UDID-05 BR-UDID-62 BR-UDID-04 BR-UDID-35 Update BR-UDID-48 BR-UDID-49 BR-UDID-116 BR-UDID-107 System and Procedure Packs BR-UDID-129 BR-UDID-135
UDIData | UDI-DI is the unique identificator of a Device (the device itself). UDIData entity manages all the properties and relationships for a Device, from the Device level; | Registration BR-UDID-01 BR-UDID-69 BR-UDID-268 BR-UDID-67 BR-UDID-17 BR-UDID-35 Update BR-UDID-48 BR-UDID-51 BR-UDID-116 BR-UDID-117 BR-UDID-107 System and Procedure Packs BR-UDID-132 BR-UDID-133 BR-UDID-136
ARComment | Comments entered by Authorised Representatives for a Basic UDI-DI to which it is linked
Clink | When registering the Device - where applicable, the single identification number of the clinical investigation or investigations conducted in relation to the device or a link to the clinical investigation must be provided. Entity stores a reference or the details to the Clinical Investigations linked to the Basic UDI-DI | BR-UDID-97 BR-UDID-98
DeviceCertificateInformation | When registering the Device, for Devices covered by Product certificates, user will have to provide identification details of the Product Certificate covering the Device. Entity stores a reference to the Certificates Scopes linked to the Basic UDI-DI | BR-UDID-53 BR-UDID-118 BR-UDID-119 BR-UDID-54 BR-UDID-109 BR-UDID-110 BR-UDID-113 BR-UDID-112
ContainedItem | Entity stores the main details of the Device (UDI-DI) and of Packaging Structure element. | BR-UDID-430
DeviceStatus | Entity stores the status of the Device or Package element | BR-UDID-458 BR-UDID-73
ClinicalSize | When registering the device Clinical Sizes can be provided if applicable. Several Clinical Sizes can be added for the Device. Clinical Size will be defined by the Type, Precizion, Value (either Range, single value or Text) and Measuring Unit Device Clinical Size properties | BR-UDID-74 BR-UDID-75
SubstanceList | When registering a new Device containing in its composition substances (substances being CMR of category 1A or 1B / substances having endocrine-disrupting properties/ substances which, if used separately, may be considered to be a medicinal product/ substances which, if used separately, may be considered to be a medicinal product derived from human blood or human plasma), Manufacturer will have to submit the details of those substances. Entity stores the details of these Substances | BR-UDID-25 BR-UDID-89 BR-UDID-27 BR-UDID-90 BR-UDID-101 BR-UDID-41
InstructionForUseDetails | Storage and handling Conditions and Critical Warnings or Contra-Indications specified on the Label of the Device or in the Instruction of Use have to be registered in EUDAMED - if applicable. Entity stores the details for Critical Warnings and Storage and Handling Conditions | BR-UDID-28 BR-UDID-74 BR-UDID-30 BR-UDID-637 BR-UDID-30 BR-UDID-638
ProductDesignerLink | Details of the Natural or Legal Person who designed or Manufactured the Device | BR-UDID-95 BR-UDID-38 BR-UDID-96
Organisation | In case the Natural or Legal Person who designed or Manufactured the Device is not registered in EUDAMED as a Manufacturer, the Organisation details of that entity.
GeographicAddress | In case the Natural or Legal Person who designed or Manufactured the Device is not registered in EUDAMED as a Manufacturer, the Address details of that entity.
PublicContactDetails | In case the Natural or Legal Person who designed or Manufactured the Device is not registered in EUDAMED as a Manufacturer, the contact details of that entity.
MarketInfoLink | Stores the link between the device and the Market Info details
MarketInfo | Entity stores the details about the market distribution of the Device (Countries were the device is placed on the market) | BR-UDID-43 BR-UDID-44 BR-UDID-45 BR-UDID-46
SSCP | Entity stores the details about the Summary of Safety and Clinical Performance | BR-UDID-417 BR-UDID-418 BR-UDID-419 BR-UDID-421
VersionData | Entity stores the details about the versions of the different entities

## Field Size
XS | 120
S | 255
M | 500
L | 2000
XL | clob
Table short name: | VARCHAR2(3 CHAR)
Audit fields: | VARCHAR2(30 CHAR)
Number(10)

## Data Dictionary BASIC UDI
MDR Eudamed - Data Dictionary
|  |  | EA | EA |  |  | EA
Field ID | Field Label | 欄名 | Entity Name | Field Description / Notes | 欄位描述/註解 | ENUM Reference Code | Field Type | Field Size | Multilingual Flag | Occurrence | Confidential | Searchable | GDPR Flag | Public Access Flag | Business Rules | Updateable (standard version) | Updateable (version 'for Correction') | Field Applicable for MDR | Field Applicable for IVDR | DTX Entity | XSD Element Name
FLD-UDID-01 | Issuing Entity | 編碼核發機構 | DIIdentifier | Assigned Issuing Entities that will generate the DI Codes allocated for all DI`s inside Eudamed (Basic UDI DI, UDI-DI, Unit of Use DI, Secondary Di , Package level DI). The Commission shall designate one or several entities to operate a system for assignment of UDIs ('issuing entity') | 編碼核發機構,其可核發在資料庫內所有的DI碼，包括Basic UDI DI, UDI-DI, Unit of Use DI, Secondary DI, Package level DI。 | ENUM_MDR_IssuingEntity | Enum |  |  | 1 |  | Y |  | Y |  |  |  | Y | Y | DIIdentififierType | issuingEntityCode
FLD-UDID-02 | Basic UDI- DI Value / UDI-DI Code/ Package UDI-DI Code | Basic UDI- DI 值 / UDI-DI 碼/ 包裝 UDI-DI 碼 | DIIdentifier | Device Identified code/value (DI Code). Together with the Issuing Entity creates the uniqness of the element to which they are assigned (Basic UDI-DI , UDI-DI, etc.) The Basic UDI-DI is the primary identifier of a device model.It is the main key for records in the UDI database and is referenced in relevant certificates and EU declarations of conformity The UDI-DI is a unique numeric or alphanumeric code specific to a model of device and that is also used as the 'access key' to information stored in a UDI database. The Unit of Use DI serves to associate the use of a device with a patient in instances in which a UDI is not labelled on the individual device at the level of its unit of use, for example in the event of several units of the same device being packaged together. | DI 編號 : 1.Basic UDI-DI是醫材型別之主要識別碼,用於UDI資料庫關鍵紀錄及相關認證與EU符合性聲明中引用。 2.UDI-DI是特定醫材型別的唯一數字或文數字並且也作為資料庫中存取密鑰。 3.使用單元 DI是用於將使用的醫材與患者關聯, 在該情況下,UDI 未在其使用單元級別的單個醫材上貼上標籤, 例如在同一個醫材多個單元打包在一起的情況下。 4.直接標記UDI-DI是直接標記於醫材上的DI。 | N/A | String | XS |  | 1 |  | Y |  | Y | BR-UDID-03 |  |  | Y | Y | DIIdentififierType | DICode
FLD-UDID-10 | Manufacturer SRN | 製造商SRN | BasicUDIData | SRN of the Manufacturer that registers the Device. | 註冊本醫材製造商的SRN | N/A | String | XS |  | 1 |  | Y |  | Y |  |  |  | Y | Y | DeviceBasicUDIType | MFActorCode
FLD-UDID-11 | Applicable Legislation | 適合法規 | BasicUDIData | Applicable Legislation of the Device. The device can have only one Applicable Legislation. Either a Regulation value can be selected/provided (MDR or IVDR) or a Directive Regulation value (MDD, AIMDD or IVDD) - in the case of Directive Devices. | 醫材適用法規。 本醫材只能有一個適用法規。在命令醫材的情况下，可以選擇/提供MDR或IVDR值或命令法規值（MDD，AIMDD或IVDD） | ENUM_MDR_LEG | Enum |  |  | 1 |  | Y |  | Y | BR-UDID-05 BR-UDID-62 BR-UDID-81 |  |  | Y | Y | MDRBasicUDIType IVDRBasicUDIType | applicableLegislation
FLD-UDID-12 | Is it a System which is a Device in itself, Procedure pack which is a Device in itself or Kit | 系統本身就是醫材，處理包裝本身就是醫材或套件 | BasicUDIData | Property defines if the Basic UDI-DI is refering to a System which is a Device in itself, Procedure pack which is a Device in itself or Kit. Property is a applicable for Standard Devices (not Systems or Procedure Packs) | 屬性定義Basic UDI-DI是否指向本身就是醫材的系統，處理包裝就是醫材本身或套件。 | ENUM_UDID_MultiComponentDevice | Enum |  |  | 1 |  |  |  | Y | BR-UDID-146 BR-UDID-130 BR-UDID-147 |  |  | Y | Y | MDRApplicablePropertiesType | systemDevice procedurePackDevice
FLD-UDID-13 | Special Device Type | 特殊醫材類型 | BasicUDIData | Property defines if the Device is a Special Device Type anf if so , the type of Special device Type. In case the Device is a Standard Device having the option System or Procedure Pack (which is a Device in itself) or a System or Procedure Pack - field is not supplied. | 屬性定義是否是特殊醫材類型,若是填入醫材的類型。 如果醫材是標準醫材，具選項系统或處理包裝（醫材本身就是）或系统或處理包裝 - 則本欄不用提供。 | ENUM_UDID_SpecialDevice | Enum |  |  | 0..1 |  |  |  | Y | BR-UDID-455 |  |  | Y | Y | DeviceBasicUDIType | specialDevice
FLD-UDID-15 | Authorised Representative | 授權代表 | BasicUDIData | The SRN of the Authorised Representative associated with the Basic UDI-DI. For Manufacturers which are not established in the Union (NonEU Manufacturers) providing the Authorised Representative for the Basic UDI-DI is required. | 授權代表的SRN與Basic UDI-DI相關連。 對未在歐盟建立的製造商（非歐盟製造商），需要提供Basic UDI-DI的授權代表。 | N/A | String | XS |  | 0..1 (Applicable only for nonEU MF) |  | Y |  | Y | BR-UDID-11 BR-UDID-12 BR-UDID-13 BR-UDID-82 | Y | Y | Y | Y | DeviceBasicUDIType | ARActorCode
FLD-UDID-16 | Risk Class | 風險等級 | BasicUDIData | Risk Class of the Device associated with the Basic UDI-DI. Device Risk Class is dependent directly on the Applicable Legislation of the Device. | 關於Basic UDI-DI之醫材的風險等級。 醫材風險等級取決於本醫材適用的法規。 | ENUM_UDID_RiskClass | Enum |  |  | 1 |  | Y |  | Y | BR-UDID-64 BR-UDID-08 BR-UDID-09 BR-UDID-06 BR-UDID-137 |  | Y | Y | Y | BasicUDIType | riskClass
FLD-UDID-18 | Tissues and cells - Presence of animal tissues or Cells, or their derivates | 組織與細胞-動物組織或細胞或衍生物 | BasicUDIData | Property defines if the Device has presence of animal tissues or cells or their derivates | 屬性定義本醫材是否有動物組織或細胞或其衍生物之物質存在。 | N/A | Boolean |  |  | 1 |  | Y |  | Y | BR-UDID-35 BR-UDID-558 |  | Y | Y |  | BasicUDIDeviceDataType | animalTissuesCells
FLD-UDID-20 | Device Model | 醫材型別 | BasicUDIData | I nformation allowing the identification of the device - Device Model. At least one of the Device identification details (Device Model or the Device Name) have to be provided for a Basic UDI-DI. | 允許識別醫材的訊息- 醫材型別。 針對一個Basic UDI-DI必須提供至少一個醫材識別細節（醫材型號或名稱）。 | N/A | String | XS |  | 0..1 (Either Device Model or Device Name is required) |  | Y |  | Y | BR-UDID-66 | Y | Y | Y | Y | ModelNameGroup | model
FLD-UDID-22 | Device Name | 醫材名稱 | BasicUDIData | I nformation allowing the identification of the device - Device Name. At least one of the Device identification details (Device Model or the Device Name) have to be provided for a Basic UDI-DI. | 允許識別醫材的訊息- 醫材模型。 針對一個Basic UDI-DI必須提供至少一個醫材識別細節（醫材型號或名稱）。 | N/A | String | XS |  | 0..1 (Either Device Model or Device Name is required) |  | Y |  | Y | BR-UDID-66 | Y | Y | Y | Y | ModelNameGroup | name
FLD-UDID-23 | Tissues and cells - presence of human tissues or cells, or their derivates | 組織與細胞-人體組織或細胞或衍生物 | BasicUDIData | Property defines if the Device has presence of human tissues or cells or their derivates | 屬性定義本醫材是否有人體組織或細胞或其衍生物之物質存在 | N/A | Boolean |  |  | 1 |  | Y |  | Y | BR-UDID-35 BR-UDID-558 |  | Y | Y | Y | BasicUDIDeviceDataType | humanTissuesCells
FLD-UDID-28 | Active Device | 具電力醫材 | BasicUDIData | Property defines if the Basic UDI-DI corresponds to an Active device or not. 'Active device' means any device, the operation of which depends on a source of energy other than that generated by the human body for that purpose, or by gravity, and which acts by changing the density of or converting that energy. Devices intended to transmit energy, substances or other elements between an active device and the patient, without any significant change, shall not be deemed to be active devices. Software shall also be deemed to be an active device. | 屬性定義Basic UDI-DI是否對應有電力的醫材。 “具電力醫材”是指任何醫材，其操作取决於除人体為此目的產生的能量之外的能量源，或者通過重力，並通過改變能量的密度或轉換能量來起作用。 | N/A | Boolean |  |  | 0..1 (Only for MDR) |  | Y |  | Y | BR-UDID-05 BR-UDID-07 |  | Y | Y |  | MDRApplicablePropertiesGroup | active
FLD-UDID-29 | Device Intended to administer and/or Remove medicinal product | 醫材用於管理和/或移除藥品 | BasicUDIData | Property defines if the Device is intended to administer or remove medicinal product | 屬性定義本醫材用於管理和/或移除藥品。 | N/A | Boolean |  |  | 0..1 (Only for MDR) |  | Y |  | Y | BR-UDID-05 |  | Y | Y |  | MDRApplicablePropertiesGroup | administeringMedicine
FLD-UDID-30 | Implantable | 可植入 | BasicUDIData | Property defines if the Basic UDI-DI corresponds to a device that is Implantable or not. Any device intended to be partially introduced into the human body by clinical intervention and intended to remain in place after the procedure for at least 30 days shall also be deemed to be an implantable device | 属性定義Basic UDI-DI是否對應於是否可植入的醫材。 任何想要通過臨床干预部分導入人體並且也意圖在手術後保持至少30天的話,也應被視為是可植入装置。 | N/A | Boolean |  |  | 0..1 (Only for MDR) |  | Y |  | Y | BR-UDID-05 BR-UDID-07 BR-UDID-14 |  | Y | Y |  | MDRApplicablePropertiesGroup | implantable
FLD-UDID-31 | Measuring Function | 量測功能 | BasicUDIData | Property defines if the Device has a Measuring Function or not | 屬性定義本醫材是否有測量功能。 | N/A | Boolean |  |  | 0..1 (Only for MDR) |  | Y |  | Y | BR-UDID-05 |  | Y | Y |  | MDRApplicablePropertiesGroup | measuringFunction
FLD-UDID-32 | Reusable Surgical Instruments | 可重複使用的外科器械 | BasicUDIData | Property defines if the Device is a Reusable Surgical Instrument or not. 'Reusable surgical instrument' means an instrument intended for surgical use in cutting, drilling, sawing, scratching, scraping, clamping, retracting, clipping or similar procedures, without a connection to an active device and which is intended by the Manufacturer to be reused after appropriate procedures such as cleaning, disinfection and sterilisation have been carried out. | 屬性定義本醫材是否是可重複使用的外科器械。 是指用於外科手術的器械，用在切割、鑽孔、鋸切、刮擦、夾緊、縮回、修剪或類似程序，無需接電力的器件，製造商打算重複使用，且已進行適當的程序，如清潔、消毒和滅菌。 | N/A | Boolean |  |  | 0..1 (Only for MDR) |  | Y |  | Y | BR-UDID-05 BR-UDID-15 |  | Y | Y |  | MDRApplicablePropertiesGroup | reusable
FLD-UDID-33 | Companion Diagnostic | 伴隨診斷 | BasicUDIData | Property defines if the Device corresponds to a device that has a role of Companion Diagnostic device or not. 'Companion diagnostic’ means a device which is essential for the safe and effective use of a corresponding medicinal product to: - identify, before and/or during treatment, patients who are most likely to benefit from the corresponding medicinal product; or - identify, before and/or during treatment, patients likely to be at increased risk of serious adverse reactions as a result of treatment with the corresponding medicinal product. | 屬性定義本醫材是否對應於具有伴隨診斷角色的設備。 “伴随診斷”是指對安全有效地使用對應醫藥產品相當重要的設備: -在治療之前和/或治療期間，確認最有可能從對應藥品中獲益的患者。 -在治療之前和/或期間，確定由於用對應的藥品治療可能導致嚴重不良反應風險增加的患者。 | N/A | Boolean |  |  | 0..1 (Only for IVDR) |  | Y |  | Y | BR-UDID-62 |  | Y |  | Y | IVDRApplicablePropertiesGroup | companionDiagnostics
FLD-UDID-34 | Tissues and cells - Presence of cells or substances of microbial origin | 組織與細胞-細胞本體或微生物來源的物質 | BasicUDIData | Property defines if the Device contains presence of substances of microbial origin | 屬性定義本醫材是否含存在微生物來源的物質 | N/A | Boolean |  |  | 1 |  | Y |  | Y | BR-UDID-35 BR-UDID-558 |  | Y |  | Y | IVDRBasicUDIDeviceDataType | microbialSubstances
FLD-UDID-35 | Near Patient Testing | 近病患測試 | BasicUDIData | Property defines if the Device device is Near Patient testing or not. 'Device for near-patient testing’ means any device that is not intended for self-testing but is intended to perform testing outside a laboratory environment, generally near to, or at the side of, the patient by a health professional; | 屬性定義醫材是否為近病患測試。 用於近患者測試的醫材“是指任何不用於自我測試但意旨在通過健康專業人員在實驗室環境之外，通常靠近病患或在病患身邊進行測試的装置。 | N/A | Boolean |  |  | 0..1 (Only for IVDR) |  | Y |  | Y | BR-UDID-62 |  | Y |  | Y | IVDRApplicablePropertiesGroup | nearPatientTesting
FLD-UDID-36 | Patient Self Testing | 病患自檢 | BasicUDIData | Property defines if the Device is Self Patient testing device or not. 'Device for self-testing’ means any device intended by the manufacturer to be used by lay persons, including devices used for testing services offered to lay persons by means of information society services; | 屬性定義醫材是否為病患自檢。 “用於自檢的醫材”是指製造商打算供非專業人員使用的任何装置，包括用於通過訊息社會服務向非專業人員提供的測試服務的装置。 | N/A | Boolean |  |  | 0..1 (Only for IVDR) |  | Y |  | Y | BR-UDID-62 |  | Y |  | Y | IVDRApplicablePropertiesGroup | selfTesting
FLD-UDID-51 | Clinical Investigation reference Number | 臨床研究參考號碼 | Clink | When registering the Device - where applicable, the single identification number of the clinical investigation or investigations conducted in relation to the device or a link to the clinical investigation must be provided. Field stores the Clinical Investigation Number provided by the user when the Clinical Investigation is not registered in EUDAMED | 在註册醫材時 - 如果合適，必須提供與醫材相關的臨床研究或研究的單一識別號碼或連接。 此欄位儲存由使用者提供之臨床研究參考號碼(當臨床研究尚未註冊於EUDAMED)。 | N/A | String |  |  | 1 |  |  |  | Y | BR-UDID-39 |  |  | Y | Y | ClinialInvestigationLinkType | clinicalInvestigationReference
FLD-UDID-60 | Certificate Type (Technical Documentation, Type Examination, etc) | 認證類型(技術文件,型式檢驗等等) | DeviceCertificateInformation | When registering the Device, for Devices covered by Product certificates, user will have to provide identification details of the Product Certificate covering the Device. Property defines the type of Product Certificate associate with the Device. | 註册醫材時，對於產品認證涵盖的醫材，使用者必须提供涵盖醫材之產品認證識別細節。 屬性定義關於醫材之產品認證類型。 | ENUM_ | Enum |  |  | 1 |  |  |  | Y | BR-UDID-119 BR-UDID-54 BR-UDID-109 BR-UDID-110 BR-UDID-113 | Y(until the link with the Certificate is made) |  | Y | Y | CertificateLinkType | certificateType
FLD-UDID-61 | Certificate Number | 認證號碼 | DeviceCertificateInformation | When registering the Device, for Devices covered by Product certificates, user will have to provide identification details of the Product Certificate covering the Device. Property stores the Certificate Number of the Product Certificate | 註册醫材時，對於產品認證涵盖的醫材，使用者必须提供涵盖醫材之產品認證識別細節。 屬性儲存產品認證之認證號碼。 | N/A | String | XS |  | 1 |  |  |  | Y |  | Y(until the link with the Certificate is made) |  | Y | Y | CertificateLinkType.Certificate (CertificateIdentifierType) | certificateNumber
FLD-UDID-62 | Revision Number | 修訂號碼 | DeviceCertificateInformation | When registering the Device, for Devices covered by Product certificates, user will have to provide identification details of the Product Certificate covering the Device. Property stores the Certificate Revision Number of the Product Certificate | 註册醫材時，對於產品認證涵盖的醫材，使用者必须提供涵盖醫材之產品認證識別細節。 屬性儲存產品認證之認證修改號碼。 | N/A | String | XS |  | 0..1 |  |  |  | Y |  | Y(until the link with the Certificate is made) |  | Y | Y | CertificateLinkType.Certificate (CertificateIdentifierType) | certificateRevisionNumber
FLD-UDID-63 | Notified Body | 公告機構 | DeviceCertificateInformation | When registering the Device, for Devices covered by Product certificates, user will have to provide identification details of the Product Certificate covering the Device. Property stores the reference to the Notified Body that issued the Product Certificate | 註册醫材時，對於產品認證涵盖的醫材，使用者必须提供涵盖醫材之產品認證識別細節。 屬性儲存對頒發產品認證的公告機構的引用。 | N/A | NotifiedBody |  |  | 1 |  |  |  | Y |  | Y(until the link with the Certificate is made) |  | Y | Y | CertificateLinkType.Certificate (CertificateIdentifierType) | NBActorCode
FLD-UDID-64 | Expiry Date | 過期日 | DeviceCertificateInformation | When registering the Device, for Devices covered by Product certificates, user will have to provide identification details of the Product Certificate covering the Device. Property stores the Certificate Expiry Date of the Product Certificate | 註册醫材時，對於產品認證涵盖的醫材，使用者必须提供涵盖醫材之產品認證識別細節。 屬性儲存產品認證過期日。 | N/A | Date |  |  | 0..1 (Required only for Directive Certificates) |  |  |  | Y |  | Y(until the link with the Certificate is made) |  | Y | Y | CertificateLinkType | expiryDate
FLD-UDID-95 | Version Date | 版本日期 | VersionData | In order to keep a referens to the changes performed in the different system entities, a version control mechanism is set up in place. Property stores the Date when the version was last updated | 為保持對不同系統實體中執行更改的引用，建立了版本控製機制。 屬性儲存版本更新日期。 | N/A | Date |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | Entity | versionDate
FLD-UDID-98 | Version Number | 版本號碼 | VersionData | In order to keep a referens to the changes performed in the different system entities, a version control mechanism is set up in place. Property stores the Number of the Version when the version was last updated | 為保持對不同系統實體中執行更改的引用，建立了版本控製機制。 屬性儲存最後更新的版本號碼。 | N/A | Number |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | Entity | version
FLD-UDID-99 | State | 版本狀態 | VersionData | In order to keep a referens to the changes performed in the different system entities, a version control mechanism is set up in place. Property stores the State of the Version | 為保持對不同系統實體中執行更改的引用，建立了版本控製機制。 屬性儲存版本狀態。 | ENUM_UDID_WorkflowState | Enum |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | Entity | state
FLD-UDID-155 | Presence of a substance which , if used separately, may be considered to be a medicinal product derived from human blood or plasma | 存在物質，如單獨使用則可被認為是來自人體血液或血漿藥品 | BasicUDIData | Defines if the Device containes substances which may be considered medicinal product derived from human blood or plasma | 定義本醫材是否包括的物質是來自人體血液或血漿的藥品。 | N/A | Boolean |  |  | 0..1 (Only for MDR) |  | Y |  | Y | BR-UDID-101 |  |  | Y |  | MDRBasicUDIDeviceDataType | humanProductCheck
FLD-UDID-158 | Presence of substance which, if used separately, may be considered to be a medicinal product | 存在物質，如單獨使用則可被認為是藥品 | BasicUDIData | Defines if the Device containes substances which may be considered medicinal product | 定義本醫材是否包括作為藥品的物質。 | N/A | Boolean |  |  | 0..1 (Only for MDR) |  | Y |  | Y |  |  |  | Y |  | MDRBasicUDIDeviceDataType | medicinalProductCheck
FLD-UDID-262 | Reagent | 試劑 | BasicUDIData | Property defines if the Device is a reagent or not. | 屬性定義本醫材是否為試劑。 | N/A | boolean |  |  | 0..1 (Only for IVDR) |  | Y |  | Y | BR-UDID-62 |  | Y |  | Y | IVDRApplicablePropertiesGroup | reagent
FLD-UDID-263 | Professional Testing | 專業測試 | BasicUDIData | Property defines if the Device is designed to be used for Professional Testing or not. | 屬性定義本醫材是否為專業測試之用。 | N/A | boolean |  |  | 0..1 (Only for IVDR) |  | Y |  | Y | BR-UDID-62 |  | Y |  | Y | IVDRApplicablePropertiesGroup | professionalTesting
FLD-UDID-264 | Instrument | 設備 | BasicUDIData | Property defines if the Device is an Instrument or not. | 屬性定義本醫材是否為設備。 | N/A | boolean |  |  | 0..1 (Only for IVDR) |  | Y |  | Y | BR-UDID-62 |  | Y |  | Y | IVDRApplicablePropertiesGroup | instrument
FLD-UDID-265 | Is it Device a suture, staple, dental filling, dental brace (...)? | 醫材是縫合,釘,牙料填充物,牙科矯正器? | BasicUDIData | Property defines if the registered Device is 'suture', 'staple' , 'dental filling' etc. Property is applicable only for Devices having Risk Class II b and having the property 'Implantable' marked | 屬性定義此註冊醫材是否是"縫合"、"釘"、牙科填充物"等等。 此屬性只適用於具風險等级II b且標示“可植入”屬性的醫材。 | N/A | boolean |  |  | 0..1 (Only for MDR IIb implantable) |  | Y |  | Y | BR-UDID-05 BR-UDID-635 |  | Y | Y |  | MDRApplicablePropertiesGroup | sutures

## Data Dictionary NB related
MDR Eudamed - Data Dictionary
|  | EA | EA |  | EA
Field ID | Field Label | Entity Name | Field Description / Notes | ENUM Reference Code | Field Type | Field Size | Multilingual Flag | Occurrence | Confidential | Searchable | GDPR Flag | Public Access Flag | Business Rules | Updateable | Updateable (version 'for Correction') | DTX Entity | XSD Element Name
FLD-UDID-80 | N/A | Decision | Decision is related to the Confirmation decision taken by the Notified Body regarding the validation/ confirmation of the details entered by the Manufacturer in the Device Data. Field stores the Date when the decision to validate the link of Certificate with Device has been taken | N/A | date |  |  | 1 |  |  |  | Y |  |  |  | CertificateLinkType.productCertificateNBDecisionType | date
FLD-UDID-82 | N/A | Decision | Decision is related to the Confirmation decision taken by the Notified Body regarding the validation/ confirmation of the details entered by the Manufacturer in the Device Data. Field stores the type of Decision taken | ENUM_UDID_DecisionTaken | enum |  |  | 1 |  |  |  | Y |  |  |  | CertificateLinkType.productCertificateNBDecision | reason
FLD-UDID-84 | N/A | Decision | Decision is related to the Confirmation decision taken by the Notified Body regarding the validation/ confirmation of the details entered by the Manufacturer in the Device Data. Field stores the reference to the Notified Body who took the Decision to validate the link off Certificate with the Device. | N/A | NotifiedBody |  |  | 1 |  |  |  | Y |  |  |  | CertificateLinkType.productCertificateNBDecision | ownerActorCode
FLD-UDID-86 | N/A | DecisionJustification | Decision is related to the Confirmation decision taken by the Notified Body regarding the validation/ confirmation of the details entered by the Manufacturer in the Device Data. Field stores the Reason (comment) why a specific Decision has been made | N/A | String | M |  | 1 |  |  |  | Y |  |  |  | CertificateLinkType.productCertificateNBDecision | comments
FLD-UDID-112 | Basic UDI-DI for which the SSCP is uploaded | SSCP | SSCP(Summary of safety and clinical performance) can be registered in EUDAMED by the Notified Body and can be periodically updated Field stores the reference to the Basic UDI - DI for which the SSCP is uploaded | N/A | Basic UDI data |  |  | 1 |  | Y |  | Y | BR-UDID-418 BR-UDID-419 BR-UDID-421 | Y |  | SSCPType | basicUDI
FLD-UDID-113 | Notified Body | SSCP | SSCP(Summary of safety and clinical performance) can be registered in EUDAMED by the Notified Body and can be periodically updated Field stores the reference to the Notified Body who uploaded the SSCP | N/A | NotifiedBody |  |  | 1 |  | Y |  | Y | BR-UDID-418 BR-UDID-419 BR-UDID-421 | Y |  | SSCPType | NBActorCode
FLD-UDID-115 | Attachement | SSCP | SSCP(Summary of safety and clinical performance) can be registered in EUDAMED by the Notified Body and can be periodically updated Field stores a reference to a Document uploaded in EUDAMED | N/A | SSCPAttachement |  |  | 0..n |  |  |  | Y |  | Y |  | SSCPType | documents
FLD-UDID-270 | Master Document | SSCPAttachement | SSCP(Summary of safety and clinical performance) can be registered in EUDAMED by the Notified Body and can be periodically updated Field marks the fact that the current document is the SSCP master attachement (validated by the NB) |  | Boolean |  |  | 1 |  |  |  | Y |  |  |  | SSCPDocumentType | masterDocument
FLD-UDID-272 | Document Language | StoredDocument | For the documents uploaded in EUDAMED (for example SSCP attachement), a set of properties are stored. Field stores the Language in which the document (attachement) is given | ENUM_MDR_LANGUAGE | Enum |  |  | 1 |  |  |  | Y |  |  |  | DocumentType | languages
FLD-UDID-273 |  | StoredDocument | For the documents uploaded in EUDAMED (for example SSCP attachement), a set of properties are stored. Field stores the Document size. |  | Number |  |  | 1 |  |  |  | Y |  |  |  | DocumentType | size
FLD-UDID-274 |  | StoredDocument | For the documents uploaded in EUDAMED (for example SSCP attachement), a set of properties are stored. Field stores the Link to the document. |  | String | S |  | 1 |  |  |  | Y |  |  |  | DocumentType | URI
FLD-UDID-275 |  | StoredDocument | For the documents uploaded in EUDAMED (for example SSCP attachement), a set of properties are stored. Field stores the Format (Type) of the Document |  | String | S |  | 1 |  |  |  | Y |  |  |  | DocumentType | format
FLD-UDID-276 |  | StoredDocument | For the documents uploaded in EUDAMED (for example SSCP attachement), a set of properties are stored. Field stores the document content (the file needed to be uploaded). |  | base64Binary | XL |  | 1 |  |  |  | Y |  |  |  | DocumentType | content

## Data Dictionary AR related
MDR Eudamed - Data Dictionary
|  | EA | EA |  | EA
Field ID | Field Label | Entity Name | Field Description / Notes | ENUM Reference Code | Field Type | Field Size | Multilingual Flag | Occurrence | Confidential | Searchable | GDPR Flag | Public Access Flag | Business Rules | Updateable (standard version) | Updateable (version 'for Correction') | Field Applicable for MDR | Field Applicable for IVDR | DTX Entity | XSD Element Name
FLD-UDID-41 | Comment | ARComment | Comments made by the Authorised Representative related to the Device | N/A | String | M | Y | 1 | [5 empty] | Y |  | Y | Y | CommentType | comment
FLD-UDID-42 | Date | ARComment | Date when the Authorised Representative submitted the comment for the Device | N/A | Date |  |  | 1 | [7 empty] | Y | Y | CommentType | date
FLD-UDID-43 | ARSRN | ARComment | Authorised Representative that issued the comment | N/A | String | XS |  | 1 | [7 empty] | Y | Y | CommentType | ownerActorCode

## Data Dictionary UDI-DI
MDR Eudamed - Data Dictionary
|  |  | EA | EA |  |  | EA
Field ID | Field Label | 欄名 | Entity Name | Field Description / Notes | 欄位描述/註解 | ENUM Reference Code | Field Type | Field Size | Multilingual Flag | Occurrence | Confidential | Searchable | GDPR Flag | Public Access Flag | Business Rules | Updateable | Updateable (version 'for Correction') | Field Applicable for MDR | Field Applicable for IVDR | DTX Entity | XSD Element Name
FLD-UDID-01 | Issuing Entity | 編碼核發機構 | DIIdentifier | Assigned Issuing Entities that will generate the DI Codes allocated for all DI`s inside Eudamed (Basic UDI DI, UDI-DI, Unit of Use DI, Secondary Di , Package level DI). The Commission shall designate one or several entities to operate a system for assignment of UDIs ('issuing entity') | 編碼核發機構,其可核發在資料庫內所有的DI碼，包括Basic UDI DI, UDI-DI, Unit of Use DI, Secondary DI, Package level DI。 | ENUM_UDID_IssuingEntity | Enum |  |  | 1 |  | Y |  | Y |  |  |  | Y | Y | DIIdentififierType | issuingEntityCode
FLD-UDID-02 | Basic UDI- DI Value / UDI-DI Code/ Package UDI-DI Code. Secondary DI. Unit of Use DI | Basic UDI- DI 值 / UDI-DI 碼/ 包裝 UDI-DI 碼. 第二個 DI. 使用單元DI | DIIdentifier | Device Identified code/value (DI Code). Together with the Issuing Entity creates the uniqness of the element to which they are assigned (Basic UDI-DI , UDI-DI, etc.) The Basic UDI-DI is the primary identifier of a device model.It is the main key for records in the UDI database and is referenced in relevant certificates and EU declarations of conformity The UDI-DI is a unique numeric or alphanumeric code specific to a model of device and that is also used as the 'access key' to information stored in a UDI database. The Unit of Use DI serves to associate the use of a device with a patient in instances in which a UDI is not labelled on the individual device at the level of its unit of use, for example in the event of several units of the same device being packaged together. Direct Marking UDI-DI - is the DI with which the Device (UDI-DI) is labeled directly | DI 編號 : 1.Basic UDI-DI是醫材型別之主要識別碼,用於UDI資料庫關鍵紀錄及相關證書與EU符合性聲明中引用。 2.UDI-DI是特定醫材型別的唯一數字或文數字並且也作為資料庫中存取密鑰。 3.使用單位 DI是用於將使用的醫材與患者關聯, 在該情況下,UDI 未在其使用單元級別的單個醫材上貼上標籤, 例如在同一個醫材多個單元打包在一起的情況下。 4.直接標記UDI-DI是直接標記於醫材上的DI。 | N/A | String | XS |  | 1 |  | Y |  | Y | BR-UDID-03 |  |  | Y | Y | DIIdentififierType | DICode
FLD-UDID-121 | Quantity per package | 每包數量 | ContainedItem | Number of Items in the Package Structure. Used when describing the Container Packaging Structure of a Device. | 包裝結構內之醫材數量 在描述醫材容器包裝結構時使用。 | N/A | Number |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | PackageUDIType | numberOfItems
FLD-UDID-122 | Recall Precision | 召回精確度 | ContainedItem | When the Status of a Device is set to FSCA Initiated or Recall, details about the Scope of the Recall/ FSCA are required (description of the serialnumber / lot number, etc.) Field stores the details of the recalled elements (batch numbers, lots numbers , etc.) of the Device - when the Scope of Recalled is entered manually by the user (not by referencing an FSN) | 當設備的狀態設置為 FSCA 啟動或召回時, 要求有關 Recall/FSCA 範圍的詳細資訊 (序號/批號等的說明)。 欄位儲存醫材召回元素 (批號、批號等) 的詳細資訊--當使用者手動輸入 "召回範圍" 時 (而不是通過引用 FSN)。 | N/A | String | L |  | 1 |  |  |  | Y | BR-UDID-52 |  |  | Y | Y | UDIDISubstatusType | recalledPrecisions
FLD-UDID-123 | Scope of Recall | 召回範圍 | ContainedItem | When the Status of a Device is set to FSCA Initiated or Recall, details about the Scope of the Recall/ FSCA are required (description of the serialnumber / lot number, etc.) Field defines how the Scope of the Recall is defined (by Lot number, Serial Number , etc.) | 當設備的狀態設置為 FSCA 啟動或召回時, 要求有關 Recall/FSCA 範圍的詳細資訊 (序號/批號等的說明)。 欄位定義了如何界定醫材召回範圍 (透過批號、批號等)。 | ENUM_UDID_DeviceScope | Enum |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | UDIDISubstatusType | recallScope
FLD-UDID-124 |  |  | ContainedItem | Container Packaging Structure is a hierarhical structure defining how the Device is packaged together for shipping and selling reasons. The basic (the lower) element of the Packagining Structure is the UDI-DI. The field stores a link to previous element in the Package Structure (parent element) | 容器包裝結構是一種層級結構, 它定義了因運輸和銷售如何將醫材包裝在一起。包裝結構的基本 (較低層級) 元件是 UDI-DI。 這個欄位儲存與較上一包裝層級的連結(上一層)。 |  | Containeditem |  |  | 1 | [7 empty] | Y | Y | PackageUDIType | child
FLD-UDID-130 | Device Status | 醫材狀態 | DeviceStatus | Status of the Device (On the market, No longer placed on the market). | 醫材狀態(市場上,不再投放於市場) | ENUM_UDID_DeviceStatus | Enum |  |  | 1 |  | Y |  | Y | BR-UDID-114 BR-UDID-73 BR-UDID-458 | Y | Y | Y | Y | UDIDIStatusType | code
FLD-UDID-131 | Device SubStatus | 醫材次狀態 | DeviceStatus | SubStatus of the Device (Recalled, Field safety corrective action initiated) | 醫材次狀態(召回,啟動現場安全機制) | ENUM_UDID_DeviceSubStatus | Enum |  |  | 0..2 |  | Y |  | Y |  |  |  | Y | Y | UDIDISubstatusType | code
| /Date of Status / Substatus update | 狀態更新日期 | DeviceStatus | Date when the Status/ Substatus is updated | 狀態更新日期(召回,不在投放於市場) | N/A | Date | [6 empty] | Y |  |  |  | Y | Y | UDIDIStatusType UDIDISubstatusType | date
FLD-UDID-135 | Unit of Use DI | 使用單元DI | UDIData | Unit of Use DI - reference to the Unit of Use DI applicable for the current UDI-DI (Device Identifier). A virtual identifier assigned to an individual medical device when a Unique Device Identifier (UDI) is not labeled on the individual device at the level of its unit of use. Its purpose is to associate the use of a device to/on a patient when a base package contains more than one device. Field is mandatory when the value of the field Direct marking is false and Quantity of Device is more than 1. | 使用單元DI-本醫材UDI-DI（醫材識別碼）的使用單位DI的參考。當UDI未在其使用單元級別的單個醫材標記時，分配一個虛擬識別碼給單個醫療醫材。其目的是在最小包裝內包含多個醫材時，將醫材的使用與患者相關聯。 當欄位"直接標記"是"flase"且醫材數量是大於1時，這個欄位是必要的。 | N/A | DIIdentifier | XS |  | 0..1(If directmarkingDi is false , field is mandatory) |  |  |  |  | BR-UDID-23 |  | Y | Y | Y | DeviceUDIDIDataType | unitOfUseIdentifier
FLD-UDID-136 | Secondary UDI - DI value | 第二個UDI-DI值 | UDIData | Secondary UDI DI Code - reference to the Secondary UDI-DI registered for the current UDI-DI . Additional DI associated to this UDI-DI. Only one Secondary UDI-DI (Additional UDI-DI) can be associated to a UDI-DI | 第二個UDI-DI值-對本UDI-DI註册的第二個UDI-DI的引用。 與本UDI-DI相關的附加DI。 只有一個第二個UDI-DI（附加UDI-DI）可以與UDI-DI相關聯。 | N/A | DIIdentifier | XS |  | 0..1 | [5 empty] | Y | Y | Y | Y | UDIDIDataType | secondaryIdentifier
FLD-UDID-137 | Member State of the placing on the EU market of the device | 進入歐盟市場的國家 | UDIData | Defines the Country were the device has been placed on the Market (Member State in which the device is to or has been placed on the market in the Union) | 定義醫材在歐盟市場進入哪一個國家。 | ENUM_MDR_COUNTRY | Enum |  |  | 1 |  | Y |  | Y | BR-UDID-45 BR-UDID-46 BR-UDID-35 |  | Y | Y | Y | MarketInfoType | country (having property originalPlacedOnTheMarket True)
FLD-UDID-153 | Is the Device directly marked? | 是否直接標記 | UDIData | Property defines if the Device is directly marked with a DI Code or not (is not labelled individually) | 屬性定義本醫材是否用DI碼直接標記。 | N/A | Boolean |  |  | 1 |  |  |  | Y | BR-UDID-67 |  | Y | Y | Y | DeviceUDIDIDataType | directMarking
FLD-UDID-138 | Direct Marking UDI-DI | 直接標記UDI-DI | UDIData | Direct Marking UDI-DI - is the DI with which the Device (UDI-DI) is marked directly Field is mandatory when the Device is directly marked ( Direct Marking = YES). The value of the field is a DI - either the current UDI-DI (of the current device) or a different UDI-DI. | 當本項醫材被直接標記 ("是否為直接標記"= YES) 時, 此欄位是必填的。該欄位的值是本項醫材UDI-DI 或不同的 UDI-DI。 | N/A | DIIdentifier | XS |  | 0..1(If directmarkingDi is true , field is mandatory) |  |  |  | Y | BR-UDID-639 |  | Y | Y | Y | DeviceUDIDIDataType | directMarkingDI
FLD-UDID-145 | Basic UDI-DI Identifier | Basic UDI-DI識別編號 | UDIData | Reference to the Basic UDI-DI to which the Device is associated. | 將醫材關連到Basic UDI-DI 的引用。 | N/A | Basic UDI-DI |  |  | 1 | [7 empty] | Y | Y | UDIDIDataType | basicUDIIdentifier
FLD-UDID-147 | Intended purpose other than medical (Annex XVI) | 醫療以外的預期目的 (附件十六) | UDIData | Field stores the reference to the Intended purpose other than medical of the Device (UDI-DI). Field stores the values regarding the Intended purpose of the Device other the medical one`s as they are descubed in the Annex XVI of MDR Regulation. | 欄位儲存對醫寮器械(UDI-DI)以外的預期用途的引用。 欄位儲存有關醫材預期目的值, 而醫療用途則是在 MDR 法規附件十六已被取消的。 | ENUM_UDID_NonMedicalDeviceType | Enum |  |  | 0..n |  |  |  | Y | BR-UDID-550 |  | Y | Y |  | MDRUDIDIDataType | annexXVINonMedicalDeviceTypes
FLD-UDID-148 | Type of UDI-PI | UDI-PI類型 | UDIData | Reference to the Types of UDI-PI (production Identifiers) applicable for the current Device (UDI-DI). Defines the way the production is controled | 引用於適合本醫材(UDI-DI)的UDI-PI類型(生產識別碼)。 定義控制生產的方式。 | ENUM_UDID_ProductionIdentifier | Enum |  |  | 1..n |  |  |  | Y | BR-UDID-131 |  | Y | Y | Y | UDIDIDataType | productionIdentifier
FLD-UDID-149 | Nomenclature code | 命名碼 | UDIData | The Device Nomenclature Code(s) associated with the UDI-DI. The corresponding CND Nomenclature Code will be stored in the field Only one Nomenclature Code can be associated to the UDI-DI. | 醫材命名碼會與UDI-DI關連。 此欄位會採用CND命名碼。 | ENUM_UDID_MDN | Enum |  |  | 1 |  | Y |  | Y | BR-UDID-615 BR-UDID- 636 | Y | Y | Y | Y | UDIDIDataType | MDNCode
FLD-UDID-151 | Quantity of Device | 醫材數量 | UDIData | The base quantity in which the Device is provided. Field has a default value 1. | 本醫材內提供基本數量。 預設值=1。 | N/A | Number |  |  | 1 |  |  |  | Y | BR-UDID-551 |  | Y | Y | Y | DeviceUDIDIDataType | baseQuantity
FLD-UDID-156 | Containing latex | 是否包含乳膠 | UDIData | Property defines if the Device contains latex into it`s composition | 屬性定義是否在本醫材之成份內含乳膠。 | N/A | Boolean |  |  | 1 |  | Y |  | Y | BR-UDID-17 |  | Y | Y |  | MDRUDIDIDataType | latex
FLD-UDID-157 | Maximum number of reuses | 重複使用的最多次數 | UDIData | Property defines the Maximum Number of reuses applicable for the Device. Field is optional and can be completed if the Device is not marked as single use device ( singleUse is false). | 屬性定義本醫材可重複使用的最多次數。 本欄位是選項且若本醫材外包無標示單次使用，則可使用。 | N/A | Number |  |  | 0..1 (Field can be completed only if singleUse is false) |  |  |  | Y | BR-UDID-24 BR-UDID-560 |  | Y | Y | Y | DeviceUDIDIDataType | numberOfReuses
FLD-UDID-159 | New Device | 新醫材 | UDIData | Defines if the Device can be considered a 'New' Device or not. A device shall be considered to be ‘new’ if: (a) there has been no such device continuously available on the Union market during the previous three years for the relevant analyte or other parameter; (b) the procedure involves analytical technology not continuously used in connection with a given analyte or other parameter on the Union market during the previous three years. | 定義本醫材是否為"新"醫材。 如果出现以下情况，本醫材應被視為“新”醫材： （a）過去三年，歐盟市場上没有連續可用的相關分析物或其他參数的醫材; （b）該程序涉及在過去三年中未連續使用與歐盟市场上给定分析物或其他参数有关的分析技術。 | N/A | Boolean |  |  | 0..1 (Applicable for IVDR) |  | Y |  | Y | BR-UDID-36 |  | Y |  | Y | IVDRDeviceDataType | newDevice
FLD-UDID-160 | Not intended for being placed on the EU market | 不打算進入歐盟市場 | UDIData | Property defines if the the device is not intended to be placed on the EU market or Not. If submitted with value True, Device is not considered as intended for EU Market. In case the field is submitted with value True, values for fields 'Member State were the Device is placed on the Market' and 'Member state were the device is made available in the market' should not be submitted | 屬性定義本醫材是否不打算進入歐盟市場。 如果提交的值是"True"，则不會將醫材視為進入歐盟市場。 若本欄位提交值是"True"，则欄位"進入歐盟市場的國家”與"在市場上是可銷售”都不應填寫。 | N/A | Boolean |  |  | 1 |  |  |  | Y | BR-UDID-67 |  | Y | Y | Y | DeviceUDIDIDataType | not4EU
FLD-UDID-163 | Reference / Catalogue Number | 參考號碼/型錄號碼 | UDIData | Property stores the Reference or Catalogue Number of the Device | 屬性儲存本醫材之參考或型錄號碼。 | N/A | String | XS |  | 1 |  | Y |  | Y | BR-UDID-67 |  | Y | Y | Y | UDIDIDataType | referenceNumber
FLD-UDID-164 | Reprocessesed single use device | 重新處理單次使用醫材 | UDIData | Property defines if the Device is a Reprocessesed single use device or not | 屬性定義是否單次使用之重新處理。 | N/A | Boolean |  |  | 1 |  | Y |  | Y | BR-UDID-79 |  | Y | Y |  | MDRUDIDIDataType | reprocessed
FLD-UDID-167 | Labelled as single use | 標記一次使用 | UDIData | Property defines if the Device is a Labelled as a Single use or not | 屬性定義是否標記單次使用。 | N/A | Boolean |  |  | 1 |  | Y |  | Y | BR-UDID-67 |  | Y | Y |  | DeviceUDIDIDataType | numberOfReuses (if value provided is 0, Device is considered as Single use Device )
FLD-UDID-169 | Device labelled sterile | 醫材標記為無菌 | UDIData | Property defines if the UDI-DI is labeled as Sterile or not | 屬性定義UDI-DI是否標示為無菌。 | N/A | Boolean |  |  | 1 |  | Y |  | Y | BR-UDID-67 |  | Y | Y | Y | UDIDIDataType | sterile
FLD-UDID-170 | Need for sterilisation before use | 使用前需要滅菌 | UDIData | Property defines if the UDI-DI needs to be sterilised before use or not | 屬性定義UDI-DI是否需要使用前進行滅菌。 | N/A | Boolean |  |  | 1 |  | Y |  | Y | BR-UDID-67 |  | Y | Y | Y | UDIDIDataType | sterilization
FLD-UDID-174 | URL for additional information | 其他訊息之URL | UDIData | Manufacturer`s website where additional information about the device (UDI-DI) are available | 製造商的網站，提供有關醫材(UDI-DI)的其他訊息。 | N/A | String | S |  | 0..1 |  |  |  | Y |  | Y | Y | Y | Y | UDIDIDataType | website
FLD-UDID-175 | Additional product Description | 其他產品描述 | UDIData | Additional Product Description. Additional Product Description is required for System or Procedure Packs or for Standard Devices being marked as System or Procedure Packs (as a Device in themselvs) | 其他的產品描述。 被要求的其他產品描述內容： System or Procedure Packs or for Standard Devices being marked as System or Procedure Packs (as a Device in themselvs) | N/A | String | L | Y | 0..1 (Required for System or Procedure Packs or for Standard Devices being marked as System or Procedure Packs (as a Device in themselvs)) |  |  |  | Y | BR-UDID-131 | Y | Y | Y | Y | UDIDIDataType | additionalDescription
FLD-UDID-176 | Name/ Trade name | 名稱/商品名稱 | UDIData | Device Trade Name assigned to the UDI-DI Trade names can be provided if applicable for the device. Several Trade- Names can be provided for the Device in the same language or in different languages. | 本醫材(UDI-DI)之名稱/商品名稱。 如果合適，可以提供商品名稱。可以使用相同語言或不同語言為醫材提供多個商品名稱。 | N/A | String | S | Y | 0..n |  | Y |  | Y | BR-UDID-70 BR-UDID-464 BR-UDID-565 | Y | Y | Y | Y | UDIDIDataType | tradeNames
FLD-UDID-190 | /Clinical Size Type | 臨床尺寸類型 | ClinicalSize | Device Clinical Sizes can be provided if applicable. Several Clinical Sizes can be added for the Device. Clinical Size will be defined by the Type, Precizion, Value (either Range, single value or Text) and Measuring Unit The Type of Clinical Size (example : length, width, etc.) | 如果合適，可以提供醫材臨床尺寸。可為醫材加入幾個臨床尺寸。臨床尺寸將由類型、精確度、值(可能是範圍，單值或文本)和量測單位來定義。 臨床尺寸類型(例如：長度、寬度等)。 | ENUM_UDID_ClinicalSizeType | Enum |  |  | 1 |  |  |  | Y | BR-UDID-75 |  | Y | Y |  | ClinicalSizeType | clinicalSizeType
FLD-UDID-191 | /Precizion | 臨床尺寸精確度 | ClinicalSize | Device Clinical Sizes can be provided if applicable. Several Clinical Sizes can be added for the Device. Clinical Size will be defined by the Type, Precizion, Value (either Range, single value or Text) and Measuring Unit Clinical Size Precision - mentions how the recording of Data will be performed (as value, range or Other is selected) | 臨床尺寸精確度-提及如何執行資料記錄（如何選擇值、範圍或其他）。 | ENUM_UDID_ClinicalSizePrecision | Enum |  |  | 1 |  |  |  | Y |  |  | Y | Y |  | ClinicalSizeType | precision
FLD-UDID-192 | /Maximum | 臨床尺寸最大值 | ClinicalSize | Device Clinical Sizes can be provided if applicable. Several Clinical Sizes can be added for the Device. Clinical Size will be defined by the Type, Precizion, Value (either Range, single value or Text) and Measuring Unit Maximum Value that the Clinical Size can get (when Range is selected as precision) | 當選擇範圍作為精確度時，臨床尺寸測得的最大數值。 | N/A | Double |  |  | 1 |  |  |  | Y | BR-UDID-77 |  | Y | Y |  | ClinicalSizeType | maximum
FLD-UDID-193 | /Value(Minimum) | 臨床尺寸最小值 | ClinicalSize | Device Clinical Sizes can be provided if applicable. Several Clinical Sizes can be added for the Device. Clinical Size will be defined by the Type, Precizion, Value (either Range, single value or Text) and Measuring Unit Value (Minimum) that the Clinical Size can get (when Value or Range is selected as precision) | 當選擇範圍作為精確度時，臨床尺寸測得的最小數值。 | N/A | Double |  |  | 1 |  |  |  | Y |  |  | Y | Y |  | ClinicalSizeType | value
FLD-UDID-194 | /Value(Text) | 值(文本) | ClinicalSize | Device Clinical Sizes can be provided if applicable. Several Clinical Sizes can be added for the Device. Clinical Size will be defined by the Type, Precizion, Value (either Range, single value or Text) and Measuring Unit Value that the Clinical Size can get (when Other is selected as precision) | 當選擇其他作為精確度時，臨床尺寸測得的值。 | N/A | String | S |  | 1 |  |  |  | Y |  |  | Y | Y |  | ClinicalSizeType | text
FLD-UDID-195 | /Measure Unit | 量測單位 | ClinicalSize | Device Clinical Sizes can be provided if applicable. Several Clinical Sizes can be added for the Device. Clinical Size will be defined by the Type, Precizion, Value (either Range, single value or Text) and Measuring Unit Clinical Size Measure Unit | 臨床尺寸使用的測量單位。 | ENUM_UDID_ClinicalSizeMeasureUnit | Enum |  |  | 1 |  |  |  | Y | BR-UDID-76 |  | Y | Y |  | ClinicalSizeType | valueUnit
FLD-UDID-196 | Labeled for presence of substances being CMR of category 1A or 1B / Labeled for presence of substances having endocrine-disrupting properties/ Presence of a substance which, if used separately, may be considered to be a medicinal product/ Presence of a substance which, if used separately, may be considered to be a medicinal product derived from human blood or human plasma | 註冊物件清單 | SubstanceList | When registering a new Device containing in its composition substances (substances being CMR of category 1A or 1B / substances having endocrine-disrupting properties/ substances which, if used separately, may be considered to be a medicinal product/ substances which, if used separately, may be considered to be a medicinal product derived from human blood or human plasma), Manufacturer will have to submit the details of those substances Field stores the details regatrding the type of Substance registered (CMR Substance / Endocrine substance/ Substance which can be considered a Medicinal Product or Substance which may be considered a medicinal product derived from human blood or plasma) | 註冊新醫材時，製造商必須提交的物件清單。 欄位儲存註冊物件類型的細目。 (CMR Substance / Endocrine substance/ Substance which can be considered a Medicinal Product or Substance which may be considered a medicinal product derived from human blood or plasma) | ENUM_UDID_SubstType | Enum |  |  | 1 |  |  |  | Y | BR-UDID-27 BR-UDID-90 BR-UDID-25 BR-UDID-89 BR-UDID-41 BR-UDID-101 | Y | Y | Y |  | CMREndocrineSubstanceType MedicalHumanProductSubstanceType | type
FLD-UDID-200 | Category of CMR | CMR型錄 | SubstanceList | When registering a new Device containing in its composition substances (substances being CMR of category 1A or 1B / substances having endocrine-disrupting properties/ substances which, if used separately, may be considered to be a medicinal product/ substances which, if used separately, may be considered to be a medicinal product derived from human blood or human plasma), Manufacturer will have to submit the details of those substances Field stores the Type of CMR Substance. It is only applicable when the Substance registered is a CMR Substance | 註冊新醫材時,製造商必須提交的物件是CMR型錄。 本欄位儲存CMR型錄物件的類型,當提交物件是屬於CRM型錄時才適用。 | ENUM_UDID_CMRType | Enum |  |  | 0..1 (Only applicable for CMR Substances) |  |  |  | Y |  | Y | Y | Y |  | CMREndocrineSubstanceType | type
FLD-UDID-201 | Name of Substance | 物件名稱 | SubstanceList | When registering a new Device containing in its composition substances (substances being CMR of category 1A or 1B / substances having endocrine-disrupting properties/ substances which, if used separately, may be considered to be a medicinal product/ substances which, if used separately, may be considered to be a medicinal product derived from human blood or human plasma), Manufacturer will have to submit the details of those substances Field stores the Name of Substance (applicable for all types of substances - CMR, Endocrine , Medicinal product, Medicinal product derived from human blood or human). In case of CMR Substances or Medicinal product and Medicinal product derived from human blood or human plasma , if the #CAS or #EC or INN is provided, field is no longer required | 欄位儲存物件名稱(物件所有類型-CMR, Endocrine , Medicinal product, Medicinal product derived from human blood or human) | N/A | String | L | Y | 0..1 (Not required in case the #CAS, #EC or INN is provided based on the type of Substance registered) |  |  |  | Y | BR-UDID-27 | Y | Y | Y |  | SubstanceType | name
FLD-UDID-202 | CAS# | CAS碼 | SubstanceList | When registering a new Device containing in its composition substances (substances being CMR of category 1A or 1B / substances having endocrine-disrupting properties/ substances which, if used separately, may be considered to be a medicinal product/ substances which, if used separately, may be considered to be a medicinal product derived from human blood or human plasma), Manufacturer will have to submit the details of those substances Field stores the CAS Code (CAS#) associated to the CMR or Endocrine disrupting substance. CAS# can be provided only for CMR or Endocrine-disrupting substances | 本欄位儲存與CMR或内分泌干擾物件相關CAS碼。 只有CRM或內分泌干擾物件所提供之CAS#。 | N/A | String | 12 |  | 0..1 (can be provided only for CMR or Endocrine-disrupting substances) |  |  |  | Y |  | Y | Y | Y |  | CMREndocrineSubstanceType | CASCode
FLD-UDID-203 | EC# | EC碼 | SubstanceList | When registering a new Device containing in its composition substances (substances being CMR of category 1A or 1B / substances having endocrine-disrupting properties/ substances which, if used separately, may be considered to be a medicinal product/ substances which, if used separately, may be considered to be a medicinal product derived from human blood or human plasma), Manufacturer will have to submit the details of those substances Field Stores the EC Code (EC#)associated to the CMR or Endocrine disrupting substance. EC# can be provided only for CMR or Endocrine-disrupting substances | 本欄位儲存與CMR或内分泌干擾物件相關EC碼。 只有CRM或內分泌干擾物件所提供之EC#。 | N/A | String | 9 |  | 0..1 (can be provided only for CMR or Endocrine-disrupting substances) |  |  |  | Y |  | Y | Y | Y |  | CMREndocrineSubstanceType | ECCode
FLD-UDID-204 | INN | INN值 | SubstanceList | When registering a new Device containing in its composition substances (substances being CMR of category 1A or 1B / substances having endocrine-disrupting properties/ substances which, if used separately, may be considered to be a medicinal product/ substances which, if used separately, may be considered to be a medicinal product derived from human blood or human plasma), Manufacturer will have to submit the details of those substances Field stores the INN value for the substance provided. INN can be provided only for CMR or Endocrine-disrupting substances which, if used separately, may be considered to be a medicinal product or substances which, if used separately, may be considered to be a medicinal product derived from human blood or human plasma. | 本欄位儲存物件提供的INN值。 只有CRM或內分泌干擾物件所提供之INN值。 | N/A | String | L |  | 0..1 |  |  |  | Y | BR-UDID-102 | Y | Y | Y |  | MedicalHumanProductSubstanceType | INN
FLD-UDID-210 |  |  | ConditionForUse | Storage and handling Conditions and Critical Warnings or Contra-Indications specified on the Label of the Device or in the Instruction of Use have to be registered in EUDAMED - if applicable. Field stores the type of Instruction for use (possible values Critical Warnings or Storage and Handling Conditions) | 醫材標籤上特定說明儲存/處理條件與嚴重警告或禁忌或使用說明都必須註冊於EUDAMED。 欄位儲存IFU類型(可能值為嚴重警告或儲存與處理條件)。 | ENUM_UDID_IFUType | Enum |  |  | 1 | [5 empty] | Y | Y | Y | Y | UDIDIDataType | criticalWarnings storageHandlingConditions
FLD-UDID-211 | Storage/handling conditions type | 儲存/處理條件類型 | ConditionForUse | Storage and handling Conditions and Critical Warnings or Contra-Indications specified on the Label of the Device or in the Instruction of Use have to be registered in EUDAMED - if applicable. Field stores the Type of Storage and Handling Conditions. Field is Applicable only when the type of Conditions for Use have the Type Storage / handling Conditions, being required in this case. | 欄位儲存儲存與處理條件類型(可能值為嚴重警告或儲存與處理條件)。 僅當使用條件的類型具類型儲存/處理條件時，該字串才適用，並在這種情况下此欄才被要求。 | ENUM_UDID_StorageHandlingCondition | Enum |  |  | 0..1 (Applicable only for Storage/handling conditions) |  |  |  | Y |  | Y | Y | Y | Y | StorageHandlingConditionType | storageHandlingConditionValue
FLD-UDID-212 | Critical Warnings type | 嚴重警告類型 | ConditionForUse | Storage and handling Conditions and Critical Warnings or Contra-Indications specified on the Label of the Device or in the Instruction of Use have to be registered in EUDAMED - if applicable. Field stores the Type of Critical Warnings or Contra-Indications, being required in this case. | 欄位儲存嚴重警告或禁忌類型。 僅當使用條件的類型是"嚴重警告"時，該字串才適用，並在這種情况下此欄才被要求。 | ENUM_UDID_CriticalWarnings | Enum |  |  | 0..1 (Applicable only for Critical warnings or Contra-Indications) |  |  |  | Y |  | Y | Y | Y | Y | CriticalWarningType | warningValue
FLD-UDID-213 | Storage/Handling conditions / Critical warnings or contra-indications | 儲存/處理狀況/嚴重警告或禁忌 | ConditionForUse | Storage and handling Conditions and Critical Warnings or Contra-Indications specified on the Label of the Device or in the Instruction of Use have to be registered in EUDAMED - if applicable. Comments or description associated to the values selected form the Storage or handling Conditions or Critical warnings | 與從“儲存”或“處理條件”或“嚴重警告”中選擇的值關聯的註釋或說明。 | N/A | String | L | Y | 0..1 (Required for specific items from the list of Enumerations- were additional details are required) |  |  |  | Y | BR-UDID-637 BR-UDID-638 | Y | Y | Y | Y | CriticalWarningType StorageHandlingConditionType | comment
FLD-UDID-221 | Enter the SRN (Is the Device designed or Manufactured by another legal or natural person) | 輸入SRN(醫材製造或設計法人或自然人) | ProductDesignerLink | Details of the Product Designer (Original Manufacturer) who Manufactured (produced) or Designed the Device. An original design manufacturer (ODM) is a company that designs and manufactures a product, as specified, that is eventually rebranded by another firm for sale. Details of the Product Designer can be given either by providing the SRN (if the PD is already registered in EUDAMED and has an SRN) or by providing Organisation details (Name and Contact Details - in case the PD is not registered in EUDAMED) SRN of the natural or legal person who designed and manufactured the device. Reference to a Manufacturer present in EUDAMED | 製造（生產）或設計醫材產品設計師（原製造商）的詳細資訊。 原設計製造商（ODM）是指按照規定設計和製造產品的公司，最後由另一家公司重新更名以進行銷售。 可以通過提供SRN（如果PD已經在EUDAMED中註册並具有SRN）或通過提供組織詳細資訊（名稱和联絡人詳細資訊 -如果PD沒有在EUDAMED中註冊）來提供產品設計者的詳細資訊。 設計和製造該醫材的自然人或法人的SRN。 請参考EUDAMED中的製造商。 | N/A | String | S |  | 0..1 (Either the MF SR is required or the Organisation is required) |  |  |  | Y |  | Y |  | Y | Y | DeviceUDIDIDataType | productDesignerActorCode
FLD-UDID-222 |  |  | ProductDesignerLink | Details of the Product Designer (Original Manufacturer) who Manufactured (produced) or Designed the Device. Reference to an Organisation details provided in case the Manufacturer that designed and manufactured the device is not present in EUDAMED. |  | N/A | Organisation |  |  | 0..1 (Either the MF SR is required or the Organisation is required) | [5 empty] | Y |  | Y | Y | DeviceUDIDIDataType | productDesignerOrganisation
FLD-UDID-225 | Name | 組織名稱 | Organisation | Details of the Product Designer (Original Manufacturer) who Manufactured (produced) or Designed the Device. Field stores the Name of the Organisation (Manufacturer) that designed and manufactured the Device (UDI-DI). Required in case the PD Organisation link is provided (ProductDesignerLink relates to an Organisation) | 製造（生產）或設計醫材的產品設計師（原始製造商）的詳細細節。 欄位儲存設計與製造醫材之組織(製造商)名字。 提供產品設計组織連接时需要（ProductDesignerLink與組織相關）。 | N/A |  |  |  | 0..1 (Either the MF SR is required or the Organisation is required) |  |  |  | Y |  | Y |  | Y | Y | OrganisationType | names
FLD-UDID-230 | Street | 街/路 | GeographicAddress | Details of the Product Designer (Original Manufacturer) who Manufactured (produced) or Designed the Device. Field stores the Street Name Required in case the PD Organisation link is provided (ProductDesignerLink relates to an Organisation) |  | N/A | String | S |  | 1 |  |  |  | Y |  | Y |  | Y | Y | GeographicAddressType | street
FLD-UDID-231 | Street number | 街/路號 | GeographicAddress | Details of the Product Designer (Original Manufacturer) who Manufactured (produced) or Designed the Device. Field stores the Street Number Required in case the PD Organisation link is provided (ProductDesignerLink relates to an Organisation) |  | N/A | String | XS |  | 1 |  |  |  | Y |  | Y |  | Y | Y | GeographicAddressType | streetNum
FLD-UDID-232 | Address complement | 地址補充(地圖) | GeographicAddress | Details of the Product Designer (Original Manufacturer) who Manufactured (produced) or Designed the Device. Field stores the Complement of the Address (Additional adress details) Required in case the PD Organisation link is provided (ProductDesignerLink relates to an Organisation) |  | N/A | String | S |  | 0..1 |  |  |  | Y |  | Y |  | Y | Y | GeographicAddressType | AddressComplement
FLD-UDID-233 | PO box | PO信箱 | GeographicAddress | Details of the Product Designer (Original Manufacturer) who Manufactured (produced) or Designed the Device. Field stores the POBox Required in case the PD Organisation link is provided (ProductDesignerLink relates to an Organisation) |  | N/A | String | XS |  | 1 |  |  |  | Y |  | Y |  | Y | Y | GeographicAddressType | PObox
FLD-UDID-234 | City name | 城市 | GeographicAddress | Details of the Product Designer (Original Manufacturer) who Manufactured (produced) or Designed the Device. Field stores the City name Required in case the PD Organisation link is provided (ProductDesignerLink relates to an Organisation) |  | N/A | String | XS |  | 1 |  |  |  | Y |  | Y |  | Y | Y | GeographicAddressType | city
FLD-UDID-235 | Postal code | 郵遞區號 | GeographicAddress | Details of the Product Designer (Original Manufacturer) who Manufactured (produced) or Designed the Device. Field stores the Postal code Required in case the PD Organisation link is provided (ProductDesignerLink relates to an Organisation) |  | N/A | String | XS |  | 1 |  |  |  | Y |  | Y |  | Y | Y | GeographicAddressType | postCode
FLD-UDID-236 | Country | 國家 | GeographicAddress | Details of the Product Designer (Original Manufacturer) who Manufactured (produced) or Designed the Device. Field stores the Country Required in case the PD Organisation link is provided (ProductDesignerLink relates to an Organisation) |  | ENUM_MDR_COUNTRY | Enum |  |  | 1 |  |  |  | Y |  | Y |  | Y | Y | GeographicAddressType | country
FLD-UDID-240 | Telephone | 電話 | PublicContactDetails | Details of the Product Designer (Original Manufacturer) who Manufactured (produced) or Designed the Device. Field stores the Phone Number of the Company Required in case the PD Organisation link is provided (ProductDesignerLink relates to an Organisation) |  | N/A | String | XS |  | 0..1 |  |  |  | Y |  | Y |  | Y | Y | ElectronicContactType | phone
FLD-UDID-241 | Email | 郵件 | PublicContactDetails | Details of the Product Designer (Original Manufacturer) who Manufactured (produced) or Designed the Device. Field stores the Email of the Company Required in case the PD Organisation link is provided (ProductDesignerLink relates to an Organisation) |  | N/A | String | XS |  | 0..1 |  |  |  | Y |  | Y |  | Y | Y | ElectronicContactType | email
FLD-UDID-250 | Start date | 起始日 | MarketInfo | Details regarding the Countries were the Device (UDI-DI) is made available on the market. There can be a Start Date (optional) and an End Date (also optional) of making available on a specific market the product. Field stores details about the Start Date when the Device is made available on the marked |  | N/A | Date |  |  | 1 |  |  |  | Y |  | Y |  | Y | Y | MarketInfoType | startDate
FLD-UDID-251 | End date | 結束日 | MarketInfo | Details regarding the Countries were the Device (UDI-DI) is made available on the market. There can be a Start Date (optional) and an End Date (also optional) of making available on a specific market the product. Field stores details about the End Date when the Device is made available on the marked |  | N/A | Date |  |  | 0..1 |  |  |  | Y |  | Y |  | Y | Y | MarketInfoType | endDate
FLD-UDID-252 | Member State were the device is or is to be made available | 可提供醫材國家 | MarketInfo | Details regarding the Countries were the Device (UDI-DI) is made available on the market. There can be a Start Date (optional) and an End Date (also optional) of making available on a specific market the product. Field stores details about the Country were the Device is made available on the market | 在市場上可提供醫材醫材(UDI-DI)之相關國家。有特定市場上提供產品的起始日期（選填）和结束日期（選填）。 | ENUM_MDR_COUNTRY | Enum |  |  | 1 |  |  |  | Y | BR-UDID-43 BR-UDID-44 BR-UDID-45 BR-UDID-46 | Y |  | Y | Y | MarketInfoType | country
FLD-UDID-95 |  | 版本最後更新日期 | VersionData | In order to keep a referens to the changes performed in the different system entities, a version control mechanism is set up in place. Property stores the Date when the version was last updated |  | N/A | Date | [6 empty] | Y |  |  |  | Y | Y | Entity | versionDate
FLD-UDID-98 |  | 版本號碼 | VersionData | In order to keep a referens to the changes performed in the different system entities, a version control mechanism is set up in place. Property stores the Number of the Version when the version was last updated |  | N/A | Number |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | Entity | version
FLD-UDID-99 |  | 版本狀態 | VersionData | In order to keep a referens to the changes performed in the different system entities, a version control mechanism is set up in place. Property stores the State of the Version |  | ENUM_UDID_WorkflowState | Enum |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | Entity | state

## Data Dictionary Basic UDI_SPPP
MDR Eudamed - Data Dictionary
|  | EA | EA |  | EA
Field ID | Field Label | Entity Name | Field Description / Notes | ENUM Reference Code | Field Type | Field Size | Multilingual Flag | Occurrence | Confidential | Searchable | GDPR Flag | Public Access Flag | Business Rules | Updateable (standard version) | Updateable (version 'for Correction') | Field Applicable for MDR | Field Applicable for IVDR | DTX Entity | XSD Element Name
FLD-UDID-01 | Issuing Entity | DIIdentifier | Assigned Issuing Entities that will generate the DI Codes allocated for all DI`s inside Eudamed (Basic UDI DI, UDI-DI, Unit of Use DI, Secondary Di , Package level DI). The Commission shall designate one or several entities to operate a system for assignment of UDIs ('issuing entity') | ENUM_MDR_IssuingEntity | Enum |  |  | 1 |  | Y |  | Y |  |  |  | Y | Y | DIIdentififierType | issuingEntityCode
FLD-UDID-02 | Basic UDI- DI Value / UDI-DI Code/ Package UDI-DI Code | DIIdentifier | Device Identified code/value (DI Code). Together with the Issuing Entity creates the uniqness of the element to which they are assigned (Basic UDI-DI , UDI-DI, etc.) The Basic UDI-DI is the primary identifier of a device model.It is the main key for records in the UDI database and is referenced in relevant certificates and EU declarations of conformity The UDI-DI is a unique numeric or alphanumeric code specific to a model of device and that is also used as the 'access key' to information stored in a UDI database. The Unit of Use DI serves to associate the use of a device with a patient in instances in which a UDI is not labelled on the individual device at the level of its unit of use, for example in the event of several units of the same device being packaged together. | N/A | String | XS |  | 1 |  | Y |  | Y |  |  |  | Y | Y | DIIdentififierType | DICode
FLD-UDID-44 | System or Procedure Pack Producer SRN | BasicUDIData | SRN of the System or Proceudre Pack Producers that registers the System or Procedure Pack. | N/A | String | XS |  | 1 |  | Y |  | Y |  |  |  | Y | Y | SPPBasicUDIType | SPActorCode
FLD-UDID-16 | Risk Class | BasicUDIData | Risk Class of the Device associated with the Basic UDI-DI. Device Risk Class is dependent directly on the Applicable Legislation of the Device. | ENUM_UDID_RiskClass | Enum |  |  | 1 |  | Y |  | Y |  |  | Y | Y | Y | BasicUDIType | riskClass
FLD-UDID-20 | Device Model | BasicUDIData | I nformation allowing the identification of the device - Device Model. At least one of the Device identification details (Device Model or the Device Name) have to be provided for a Basic UDI-DI. | N/A | String | XS |  | 0..1 (Either Device Model or Device is required) |  | Y |  | Y |  | Y | Y | Y | Y | ModelNameGroup | model
FLD-UDID-22 | Device Name | BasicUDIData | I nformation allowing the identification of the device - Device Name. At least one of the Device identification details (Device Model or the Device Name) have to be provided for a Basic UDI-DI. | N/A | String | XS |  | 0..1 (Either Device Model or Device is required) |  | Y |  | Y |  | Y | Y | Y | Y | ModelNameGroup | name
FLD-UDID-95 | Version Date | VersionData | In order to keep a referens to the changes performed in the different system entities, a version control mechanism is set up in place. Property stores the Date when the version was last updated | N/A | Date |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | Entity | versionDate
FLD-UDID-98 | Version Number | VersionData | In order to keep a referens to the changes performed in the different system entities, a version control mechanism is set up in place. Property stores the Number of the Version when the version was last updated | N/A | Number |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | Entity | version
FLD-UDID-99 | State | VersionData | In order to keep a referens to the changes performed in the different system entities, a version control mechanism is set up in place. Property stores the State of the Version | ENUM_UDID_WorkflowState | Enum |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | Entity | state
FLD-UDID-260 | Medical Purpose of the Device | BasicUDIData | Description of the Medical Purpose of the System or Procedure Pack. Field is applicable for System and Procedure Packs and refers to the Indication of the specific medical purpose of the System or Procedure Pack Producer | N/A | String | XL | Y | 0..1 |  |  |  | Y |  | Y | Y | Y(only in case of Systems and procedure packs) |  | SPPBasicUDIType | medicinalPurpose
FLD-UDID-261 | Type of System or Procedure Pack | BasicUDIData | Type of the System or Procedure Pack | ENUM_UDID_SystemProcedurePackType | Enum |  |  | 0..1 |  | Y |  | Y |  |  |  | Y(only in case of Systems and procedure packs) |  | SPPBasicUDIType | type

## Data Dictionary UDI-DI_SPPP
MDR Eudamed - Data Dictionary
|  | EA | EA |  | EA
Field ID | Field Label | Entity Name | Field Description / Notes | ENUM Reference Code | Field Type | Field Size | Multilingual Flag | Occurrence | Confidential | Searchable | GDPR Flag | Public Access Flag | Business Rules | Updateable | Updateable (version 'for Correction') | Field Applicable for MDR | Field Applicable for IVDR | DTX Entity | XSD Element Name
FLD-UDID-01 | Issuing Entity | DIIdentifier | Assigned Issuing Entities that will generate the DI Codes allocated for all DI`s inside Eudamed (Basic UDI DI, UDI-DI, Unit of Use DI, Secondary Di , Package level DI). The Commission shall designate one or several entities to operate a system for assignment of UDIs ('issuing entity') | ENUM_UDID_IssuingEntity | Enum |  |  | 1 |  | Y |  | Y |  |  |  | Y | Y | DIIdentififierType | issuingEntityCode
FLD-UDID-02 | Basic UDI- DI Value / UDI-DI Code/ Package UDI-DI Code. Secondary DI. Unit of Use DI | DIIdentifier | Device Identified code/value (DI Code). Together with the Issuing Entity creates the uniqness of the element to which they are assigned (Basic UDI-DI , UDI-DI, etc.) The Basic UDI-DI is the primary identifier of a device model.It is the main key for records in the UDI database and is referenced in relevant certificates and EU declarations of conformity The UDI-DI is a unique numeric or alphanumeric code specific to a model of device and that is also used as the 'access key' to information stored in a UDI database. The Unit of Use DI serves to associate the use of a device with a patient in instances in which a UDI is not labelled on the individual device at the level of its unit of use, for example in the event of several units of the same device being packaged together. Direct Marking UDI-DI - is the DI with which the Device (UDI-DI) is labeled directly | N/A | String | XS |  | 1 |  | Y |  | Y | BR-UDID-03 |  |  | Y | Y | DIIdentififierType | DICode
FLD-UDID-121 | Quantity per package | ContainedItem | Number of Items in the Package Structure. Used when describing the Container Packaging Structure of a Device. | N/A | Number |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | PackageUDIType | numberOfItems
FLD-UDID-122 | Recall Precision | ContainedItem | When the Status of a Device is set to FSCA Initiated or Recall, details about the Scope of the Recall/ FSCA are required (description of the serialnumber / lot number, etc.) Field stores the details of the recalled elements (batch numbers, lots numbers , etc.) of the Device - when the Scope of Recalled is entered manually by the user (not by referencing an FSN) | N/A | String | L |  | 1 |  |  |  | Y | BR-UDID-52 |  |  | Y | Y | UDIDISubstatusType | recalledPrecisions
FLD-UDID-123 | Scope of Recall | ContainedItem | When the Status of a Device is set to FSCA Initiated or Recall, details about the Scope of the Recall/ FSCA are required (description of the serialnumber / lot number, etc.) Field defines how the Scope of the Recall is defined (by Lot number, Serial Number , etc.) | ENUM_UDID_DeviceScope | Enum |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | UDIDISubstatusType | recalledScope
FLD-UDID-124 |  | ContainedItem | Container Packaging Structure is a ierarhical structure defining how the Device is packaged together for shipping and selling reasons. The basic (the lower) element of the Packagining Structure is the UDI-DI. The field stores a link to previous element in the Package Structure (parent element) |  | Containeditem |  |  | 1 | [7 empty] | Y | Y | PackageUDIType | child
FLD-UDID-130 | Device Status | DeviceStatus | Status of the Device (On the market, No longer placed on the market). | ENUM_UDID_DeviceStatus | Enum |  |  | 1 |  | Y |  | Y | BR-UDID-114 BR-UDID-73 BR-UDID-458 | Y | Y | Y | Y | UDIDIStatusType | code
FLD-UDID-131 | Device SubStatus | DeviceStatus | SubStatus of the Device (Recalled, Field safety corrective action initiated) | ENUM_UDID_DeviceSubStatus | Enum |  |  | 0..2 |  | Y |  | Y |  |  |  | Y | Y | UDIDISubstatusType | code
FLD-UDID-136 | Secondary UDI - DI value | UDIData | Secondary UDI DI Code - reference to the Secondary UDI-DI registered for the current UDI-DI . Additional DI associated to this UDI-DI. Only one Secondary UDI-DI (Additional UDI-DI) can be associated to a UDI-DI | N/A | DIIdentifier | XS |  | 0..1 | [5 empty] | Y | Y | Y | Y | UDIDIDataType | secondaryIdentifier
FLD-UDID-145 | Basic UDI-DI Identifier | UDIData | Reference to the Basic UDI-DI to which the Device is associated. | N/A | Basic UDI-DI |  |  | 1 | [7 empty] | Y | Y | UDIDIDataType | basicUDIIdentifier
FLD-UDID-148 | Type of UDI-PI | UDIData | Reference to the Types of UDI-PI (production Identifiers) applicable for the current Device (UDI-DI). Defines the way the production is controled | ENUM_UDID_ProductionIdentifier | Enum |  |  | 1..n |  |  |  | Y | BR-UDID-131 |  | Y | Y | Y | UDIDIDataType | productionIdentifier
FLD-UDID-149 | Nomenclature code | UDIData | The Device Nomenclature Code(s) associated with the UDI-DI. The corresponding CND Nomenclature Code will be stored in the field Only one Nomenclature Code can be associated to the UDI-DI. | ENUM_UDID_MDN | Enum |  |  | 1 |  | Y |  | Y | BR-UDID-615 BR-UDID- 636 | Y | Y | Y | Y | UDIDIDataType | MDNCode
FLD-UDID-163 | Reference / Catalogue Number | UDIData | Property stores the Reference or Catalogue Number of the Device | N/A | String | XS |  | 1 |  | Y |  | Y | BR-UDID-67 |  | Y | Y | Y | UDIDIDataType | referenceNumber
FLD-UDID-169 | Device labelled sterile | UDIData | Property defines if the UDI-DI is labeled as Sterile or not | N/A | Boolean |  |  | 1 |  | Y |  | Y | BR-UDID-67 |  | Y | Y | Y | UDIDIDataType | sterile
FLD-UDID-170 | Need for sterilisation before use | UDIData | Property defines if the UDI-DI needs to be sterilised before use or not | N/A | Boolean |  |  | 1 |  | Y |  | Y | BR-UDID-67 |  | Y | Y | Y | UDIDIDataType | sterilization
FLD-UDID-174 | URL for additional information | UDIData | Manufacturer`s website where additional information about the device (UDI-DI) are available | N/A | String | S |  | 1 |  |  |  | Y |  | Y | Y | Y | Y | UDIDIDataType | website
FLD-UDID-175 | Additional product Description | UDIData | Additional Product Description. Additional Product Description is required for System or Procedure Packs or for Standard Devices being marked as System or Procedure Packs (as a Device in themselvs) | N/A | String | L | Y | 1 (Required for System or Procedure Packs or for Standard Devices being marked as System or Procedure Packs (as a Device in themselvs)) |  |  |  | Y | BR-UDID-131 | Y | Y | Y | Y | UDIDIDataType | additionalDescription
FLD-UDID-176 | Name/ Trade name | UDIData | Device Trade Name assigned to the UDI-DI Trade names can be provided if applicable for the device. Several Trade- Names can be provided for the Device in the same language or in different languages. | N/A | String | S | Y | 0..n |  | Y |  | Y | BR-UDID-70 BR-UDID-464 BR-UDID-565 | Y | Y | Y | Y | UDIDIDataType | tradeNames
FLD-UDID-210 |  | ConditionForUse | Storage and handling Conditions and Critical Warnings or Contra-Indications specified on the Label of the Device or in the Instruction of Use have to be registered in EUDAMED - if applicable. Field stores the type of Instruction for use (possible values Critical Warnings or Storage and Handling Conditions) | ENUM_UDID_IFUType | Enum |  |  | 1 | [5 empty] | Y | Y | Y | Y | UDIDIDataType | criticalWarnings storageHandlingConditions
FLD-UDID-211 | Storage/handling conditions type | ConditionForUse | Storage and handling Conditions and Critical Warnings or Contra-Indications specified on the Label of the Device or in the Instruction of Use have to be registered in EUDAMED - if applicable. Field stores the Type of Storage and Handling Conditions. Field is Applicable only when the type of Conditions for Use have the Type Storage / handling Conditions, being required in this case. | ENUM_UDID_StorageHandlingCondition | Enum |  |  | 0..1 (Applicable only for Storage/handling conditions) |  |  |  | Y |  | Y | Y | Y | Y | StorageHandlingConditionType | storageHandlingConditionValue
FLD-UDID-212 | Critical Warnings type | ConditionForUse | Storage and handling Conditions and Critical Warnings or Contra-Indications specified on the Label of the Device or in the Instruction of Use have to be registered in EUDAMED - if applicable. Field stores the Type of Critical Warnings or Contra-Indications, being required in this case. | ENUM_UDID_CriticalWarnings | Enum |  |  | 0..1 (Applicable only for Critical warnings or Contra-Indications) |  |  |  | Y |  | Y | Y | Y | Y | CriticalWarningType | warningValue
FLD-UDID-213 | Storage/Handling conditions / Critical warnings or contra-indications | ConditionForUse | Storage and handling Conditions and Critical Warnings or Contra-Indications specified on the Label of the Device or in the Instruction of Use have to be registered in EUDAMED - if applicable. Comments or description associated to the values selected form the Storage or handling Conditions or Critical warnings | N/A | String | L | Y | 0..1 (Required for specific items from the list of Enumerations- were additional details are required) |  |  |  | Y | BR-UDID-637 BR-UDID-638 | Y | Y | Y | Y | CriticalWarningType StorageHandlingConditionType | comment
FLD-UDID-95 |  | VersionData | In order to keep a referens to the changes performed in the different system entities, a version control mechanism is set up in place. Property stores the Date when the version was last updated | N/A | Date | [6 empty] | Y |  |  |  | Y | Y | Entity | versionDate
FLD-UDID-98 |  | VersionData | In order to keep a referens to the changes performed in the different system entities, a version control mechanism is set up in place. Property stores the Number of the Version when the version was last updated | N/A | Number |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | Entity | version
FLD-UDID-99 |  | VersionData | In order to keep a referens to the changes performed in the different system entities, a version control mechanism is set up in place. Property stores the State of the Version | ENUM_UDID_WorkflowState | Enum |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | Entity | state